**Quotation Invitation**

NIT Uttarakhand invites the online Quotations for equipment’s (Measurement lab) with the following specifications:

|  |  |  |  |
| --- | --- | --- | --- |
| **S.No.** | **Description of Goods** | **Specifications** | **Qty.** |
|  | Maxwell’s Inductance Bridge | Availability of DC Voltmeter available on board: Yes,  Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes and Warranty: 1 year | 1 |
|  | Schering Bridge | Availability of DC Voltmeter available on board: Yes,  Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes, input power supply: 220-230 V and Warranty: 1 year | 1 |
|  | Kelvin’s Double Bridge | Number of variable DC power supply available on board:2, Availability of DC Voltmeter available on board: Yes, Availability of DC Ammeter on board:Yes, , Necessary patch cords available for interconnection: yes, input power supply: 220-230 V and Warranty: 1 year | 1 |
|  | Wheat Stone Bridge | Availability of DC Voltmeter available on board: Yes,  Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes and Warranty: 1 year | 1 |
|  | Wein Bridge Trainer | Availability of DC Voltmeter available on board: Yes, Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes and Warranty: 1 year | 1 |
|  | Hay’s Bridge | Availability of DC Voltmeter on board: YES, Range of DC Voltmeter (in volt): 0-50, Availability of DC Ammeter on board:YES, Range of DC Ammeter (in milli Ampere): 0-200, Number of DC regulated power supply with short circuit and overload protection:1,2, Voltage Range of continously Variable DC power supply (in volts): 30, No. of Potentiometers provided onboard:1, No. of LED indicators available to indicate Power input:1, Provision of on-board knob for adjusting the voltage: Yes, Accessories: Patch Cords for Interconnection and Warranty: 1 year | 1 |

The extended deadline to submit the quotation through online (emails) to the following mail address on or before 21-01-2023, 05:00 PM.

Dr. Prakash Dwivedi, [prakashdwivedi@nituk.ac.in](mailto:prakashdwivedi@nituk.ac.in), +91-9557108456

Dr. Pankaj Kumar pal, pankajpal86@nituk.ac.in, +91- 9568029300

Mr. Himesh kumar, himesh.kumar@nituk.ac.in, +91- 7895780437

Guidelines:

1. Quotation must be submitted only in the prescribed format.
2. The quotation format must be printed on the letter head of the vendor with seal. Invalid quotations shall directly be rejected without any communication.
3. The quotations must be password protected and **only in PDF format**. The committee will contact through given mobile number to the respective vendor at the time of quotation opening.
4. Clearly mentioned your contact number in the mail body.
5. After due date and time, no quotation will be considered for processing.
6. The quotations will be evaluated as per GRF 2017 guidelines.
7. Institute reserves the rights to cancel the process at any given point of time.
8. For more information, contact the above committee members.

I/c, Registrar,

NIT UttarakhandFormat

**Printed on Company letter head**

GST Number:---------------------------------------------

PAN number:-------------------------------------------

Date:

To,

The Director,

National Institute of Technology Uttarakhand,

Srinagar, Garhwal-246174

**Subject: Online quotation for equipment’s (Measurement lab)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S.No.** | **Description of Goods** | **Specifications** | **Qty.** | **Total**  **Cost + GST** |
|  | Maxwell’s Inductance Bridge | Availability of DC Voltmeter available on board: Yes,  Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes and Warranty: 1 year | 1 |  |
|  | Schering Bridge | Availability of DC Voltmeter available on board: Yes,  Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes, input power supply: 220-230 V and Warranty: 1 year | 1 |  |
|  | Kelvin’s Double Bridge | Number of variable DC power supply available on board:2, Availability of DC Voltmeter available on board: Yes, Availability of DC Ammeter on board:Yes, , Necessary patch cords available for interconnection: yes, input power supply: 220-230 V and Warranty: 1 year | 1 |  |
|  | Wheat Stone Bridge | Availability of DC Voltmeter available on board: Yes,  Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes and Warranty: 1 year | 1 |  |
|  | Wein Bridge Trainer | Availability of DC Voltmeter available on board: Yes, Availability of DC Ammeter on board: Yes, No. of Potentiometers provided onboard to vary load resistance:1, No. of variable DC power supply available on board:1, Variable DC power supply (in volts) : 5 v, Range of DC Ammeter (in milli Ampere): 0-50, Necessary patch cords available for interconnection: yes and Warranty: 1 year | 1 |  |
|  | Hay’s Bridge | Availability of DC Voltmeter on board: YES, Range of DC Voltmeter (in volt): 0-50, Availability of DC Ammeter on board:YES, Range of DC Ammeter (in milli Ampere): 0-200, Number of DC regulated power supply with short circuit and overload protection:1,2, Voltage Range of continously Variable DC power supply (in volts): 30, No. of Potentiometers provided onboard:1, No. of LED indicators available to indicate Power input:1, Provision of on-board knob for adjusting the voltage: Yes, Accessories: Patch Cords for Interconnection and Warranty: 1 year | 1 |  |
| Freight and all charges shall be inclusive. F.O.R. NIT Uttarakhand, Srinagar, Garhwal, 246174 | | | |  |
| Total cost: | | | |  |

Terms and Conditions of service providers (if any)…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

Name and Signature of

Company head with seal

**Complete address with contact number at footer.**